## Slide 1
ESD PROTECTION
+
HF REJECTION
INSTRUMENTATION AMPLIFIER
GAIN=10
AC COUPLING
1.6 Hz
MAIN AMPLIFIER
GAIN=180
Pole frequency=1600 Hz
AC COUPLING
1.6 Hz
3° ORDER LOW PASS FILTER
GAIN=3.6
Corner frequency=40 Hz
SENSING ELECTRODES
REFERENCE ELECTRODE
ADC
VREF
-
+
VREF
REFERENCE BUFFER
DC LEVEL FEEDBACK LOOP
Frequency < 1.6 Hz
GAIN
INA331